## Slide 1: Detecting Transiting Planets
Systematic Sources of Error in Time-Series Data* and Period-Finding Algorithms
* Thanks to 2007 MSC Summer Workshop on Planetary Transits for hosting talk pdfs online.

## Slide 2: Transit Basics

## Slide 3: Transit Basics

## Slide 4: Real Data – CoRoT 4

## Slide 5: CoRoT “raw” data
Notes: Three steps:
Relative Photometry
Detrending
Period finding

## Slide 6: Photometry

## Slide 7: Photometry

## Slide 8: Difference Imaging Analysis

## Slide 9: Difference Imaging Analysis

## Slide 10: Photometry  Light curve
Flux ratio (or magnitude difference) of science target(s) to non-variable reference star(s) yields “relative photometry” from which light curves are constructed, frame by frame.
Is that all we need to do to start looking for transiting planets? No, because of systematic sources of noise

## Slide 15: Sources of Systematic Noise
Airmass
Seeing
Crowding
Intra-pixel effects
Hot Pixels
Other Detector Effects
Astrophysical False Positives
 Ground based vs. space based and desired precision affect relevant importance of these noise sources

## Slide 16: Seeing & Crowding

## Slide 17: Airmass

## Slide 18: Intra-pixel Effects

## Slide 19: Intra-pixel Effects

## Slide 23: MACHO false positives

## Slide 24: How to “De-trend” Light Curves
SYS-REM
  SYStematic REMoval
  “Correcting systematic effects in a large set of photometric light curves” Tamuz, O.; Mazeh, T.; Zucker, S., 2005, MNRAS, 356, 1466
  “The Sys-Rem Detrending Algorithm: Implementation and Testing” Mazeh, T.; Tamuz, O.; Zucker, S., 2007, ASPC, 366, 119
  Reduces to “Principle Component Analysis” for identical photometric uncertainties
TFA
  Trend Filtering Algorithm
  “A trend filtering algorithm for wide-field variability surveys” Kovács, Géza; Bakos, Gáspár; Noyes, Robert W. , 2005, MNRAS, 356,557

## Slide 25: SYS-REM: Minimize S2
i = star #
J = image # / date
c = color dependent “extinction” correction coefficient
a = “airmass”
r = magnitude or relative flux
Sigma = photometry uncertainty
 Iterative Linear trend fitting and removal

## Slide 27: TFA

## Slide 30: Detrending algorithms
TFA  takes trends from linear combination of randomly selected sub-sample of light curves stars in field to serve as trend “templates”. Can benefit with the period of the science target variability is already known.
SYS-REM  fits linear trends with no apriori knowledge of trends or periods.
Both algorithms are iterative.
Both algorithms require convergence criteria, or times to stop, and this is somewhat of an art form.
For SYS-REM, stopping criteria is determined by comparing the ratio of the global dispersion (standard deviation) of photometry before and after the detrending; with a limiting threshold.

## Slide 31: TFA improvements

## Slide 32: Period Finding
Brute Force
  Search through 10,000’s periods
  For each period, “fold” the light curve to that period
    phase = (date modulo period) / period
  Calculate some quantity based upon a specific algorithm to evaluate the significance of the “test” period
  Generate a “periodogram”, and “peaks” in the periodogram may correspond to the correct period

## Slide 33: Periodogram Algorithms
Lomb-Scargle
  Scargle, 1982, ApJ, 263, 835
Box Least Squares
  Kovacs et al., 2002, A&A, 391, 369
Strlen
  Min( Σmi+1 – mi ) , mi are ordered by phase after folding
Analysis of Variance
Phase Dispersion Minimization
Plavchan
  Plavchan et al. , 2008, ApJS, 175, 191

## Slide 34: Why not generate FFT?
Fast Fourier Trransform assumes the observations are evenly spaced in time, with no gaps.
  Real time series observations rarely meet this criteria
  Daylight gets in the way of ground-based efforts
Lomb-Scargle is effectively a FFT for unevenly sampled data
  For a trial period, fit data to sine wave. Amplitude of sine wave yields significance of the trial period.

## Slide 35: Box Least Squares
Instead of sinusoids, take data folded to trial period and fit to “box-like” transit curve.

## Slide 36: Plavchan Periodogram
Maximize:

## Slide 39: Plavchan Peridogram

## Slide 40: N-D Plavchan Periodogram
The numerator and denominator are 1-D vector magnitudes

## Slide 41: Conclusions
Published light curves of transiting planets hide the massaging and removal of systematic sources of noise, but fortunately these tools exist.
Finding a transit signal in a light curve is a brute force extension of a Fourier Transform, with a careful choice/substitution of “basis functions”